## Slide 1: Linear Programming
Presented to BUS440-B
by Bryce Hargis
November 16, 2017

## Slide 3: Linear
Variables in Separate Terms
First power
Multiplied by a Constant
Course of Action
Objectives
Constraints
Programming

## Slide 4: Objective
Energy efficient design
Combined cooling, heating, and power
“…Minimization of building annual total cost.”
Constraints

## Slide 5: Constraints
Capacity and Demand for:
  Power
  Heating
  Cooling
Ten constraints total

## Slide 6: Problem Formulation
Power capacity
Heating demand
Cooling demand

## Slide 7: Optimal Solution
Increase absorption chiller size
Decrease electric chiller size
Increase CHP unit size
Generic Algebraic Modeling System (GAMS)

## Slide 8: Reference
Kialashaki, Y. (2017). A linear programming optimization model for optimal operation strategy design and sizing of the CCHP systems. Energy Efficiency, 1-14. doi:10.1007/s12053-017-9560-1